Dena Petrochemical Industries

SYSTEMS & SUBSYSTEM

IDENTIFICATION

Doc. Number: COM-KC-8694-001 REV. NO: 03

| REVISION RECORD SHEET |  |  |  |  |
| --- | --- | --- | --- | --- |
| ROW | REV. NO | PAGES | DATE | Remark |
| 1 | 01 | 8 | 11-05-2022 |  |
| 2 | 02 | 9 | 2024-02-21 |  |
| 3 | 03 | 9 | 2024/03/05 |  |

SYSTEM IDENTIFICATION:

| SYSTEM | SYSTEM Name |
| --- | --- |
| 1000 | GAS PREPARATION |
| 2000 | REFORMING |
| 3000 | COMPRESSION & SYNTHESIS |
| 4000 | UTILITY |
| 5000 | DISTILLATION |
| 7000 | FLARE |
| 120 | ELECTRICAL DISTRIBUTION SUBSTATION |
| LS | LIGHTING SYSTEM |
| ESD | EMERGENCY SHOUT DOWN |
| F&G | FIRE AND GAS DETECTION |
| ES | EARTHING SYSTEM |
| TEL | TELECOM SYSTEM |
| DCS | DISTRIBUTED CONTROL SYSTEM |
| BL | BUILDING |
| HVAC | HVAC |
| STR | STRUCTURE |
| CVL | CIVIL |

System: 1000	[GAS PREPARATION]

| Subsystem | Subsystem Name |
| --- | --- |
| 1000-01 | N.G. AND DESULPHURIZATION |
| 1000-02 | FUEL GAS & DISTRIBUTION |
| 1000-03 | NATURAL GAS SATURATION & PROCESS CONDENSATE |
| 1000-04 | GAS STATION |

System: 2000	[REFORMING]

| Subsystem | Subsystem Name |
| --- | --- |
| 2000-01 | PRE-REFORMING |
| 2000-02 | PRIMARY REFORMING |
| 2000-03 | PROCESS OXYGEN AND SECONDARY REFORMER |
| 2000-04 | STEAM GENERATION &SUPERHEATING STEAM |
| 2000-05 | GAS COOLING AND SEPARATION |
| 2000-06 | NITROGEN CIRCUIT |

System: 3000	[COMPESSION AND SYNTHESIS]

| Subsystem | Subsystem Name |
| --- | --- |
| 3000-01 | SYNTHESIS GAS COMPRESSION |
| 3000-02 | METHANOL SYNTHESIS |
| 3000-03 | SYNTHESIS GAS COOLING |
| 3000-04 | HYDROGEN SYSTEM |

System 4000 [ Utility]

| Subsystem | Subsystem Name |
| --- | --- |
| 4000-01 | NITROGEN |
| 4000-02 | HHP, HP AND LP STEAM |
| 4000-03 | MP STEAM |
| 4000-04 | BFW GENERATION & DISTRIBUTION |
| 4000-05 | BLOW DOWN |
| 4000-06 | DM & POLISHING WATER & NEUTRALIZATION SYSTEM |
| 4000-07 | PLANT AIR |
| 4000-08 | COOLING WATER |
| 4000-09 | OILY WATER TREATMENT |
| 4000-10 | SANITARY WATER COLLECTION |
| 4000-11 | INSTRUMENT AIR |
| 4000-12 | COC WATER AND LAB CHEMICAL SUMP |
| 4000-13 | SLOPE CLOSE DRAIN |
| 4000-14 | FIRE WATER |
| 4000-15 | RO WATER |
| 4000-16 | PK-8004 |
| 4000-17 | PK-8003 |
| 4000-18 | PK-8002 |
| 4000-19 | PK-8005 |
| 4000-20 | COOLING TOWER |
| 4000-21 | POTABLE & SERVICE WATER |

System 5000 [ DISTILLATION AND METHANOL PRODUCT ]

| Subsystem | Subsystem Name |
| --- | --- |
| 5000-01 | CRUDE METHANOL AND STABILIZED |
| 5000-02 | LP METHANOL |
| 5000-03 | MP METHANOL |
| 5000-04 | METHANOL PRODUCT |
| 5000-05 | LIQUID OFF STREAM |

System 7000 [ FLARE SYSTEM ]

| Subsystem | Subsystem Name |
| --- | --- |
| 7000-01 | FLARE SYSTEM |

System: 120	[ELECTRICAL DISTRIBUTION SUBSTATION]

| Subsystem | Subsystem Name |
| --- | --- |
| 120-01 | 6kV SWITCHBOARD SS-SWB2A/B-01 |
| 120-02 | 0.4KV SWITCHBOARD SS-SWB3A/B-01 |
| 120-03 | 0.4KV SWITCHBOARD SS-SWB3A/B-02 |
| 120-04 | 0.4KV SWITCHBOARD SS-SWB3A/B-03 |
| 120-05 | 0.4KV SWITCHBOARD SS-SWB3A/B-04 |
| 120-06 | 0.4KV SWITCHBOARD SS-SWB3A/B-05 |
| 120-07 | 0.4KV SWITCHBOARD SS-ESWB3A/B-01 |
| 120-08 | EMERGENCY DIESEL GENERATOR SS-DG-5701 |
| 120-09 | CR-UPS-01 FOR INSTRUMENT SUPPLY 190/110 AC UPS |
| 120-10 | SS-CH-01 FOR ELECTRICAL SUPPLY 110V DC |
| 120-11 | SS-UPS-01 FOR SAFETY LIGHTING SUPPLY 230 AC UPS |
| 120-12 | SS PDCS SYSTEM |
| 120-13 | CATHODIC PROTECTION SYSTEM |
| 120-14 | ELECTRIC HEAT TRACING SYSTEM |
| 120-15 | CAPACITOR BANK |
| 120-16 | MV TRANSFORMER |
| 120-17 | LV TRANSFORMER |
| 120-18 | E/I CABINET |

System: LS [LIGHTING SYSTEM]

| Subsystem | Subsystem Name |
| --- | --- |
| LS-01 | SS-MLP-01 FOR NORMAL LIGHTING SYSTEM |
| LS-02 | SS-EMLP-01 FOR EMERGENCY LIGHTING SYSTEM |
| LS-03 | LIGHTING SYSTEM FOR SUBSTATION |
| LS-04 | LIGHTING SYSTEM FOR CONTROLL BLDG |
| LS-05 | LIGHTING SYSTEM FOR LABORATORY & YARD OFFICE |
| LS-06 | LIGHTING SYSTEM FOR STREET |
| LS-07 | LIGHTING SYSTEM FOR AREA-02 |
| LS-08 | LIGHTING SYSTEM FOR AREA-03 |
| LS-09 | LIGHTING SYSTEM FOR AREA-04 |
| LS-10 | LIGHTING SYSTEMFOR AREA-05 |
| LS-11 | LIGHTING SYSTEM FOR AREA-06 |
| LS-12 | LIGHTING SYSTEM FOR AREA-07 |
| LS-13 | LIGHTING SYSTEM FOR WARHOUSE |
| LS-14 | LIGHTINH SYSTEM FOR ANALYZER HOUSE |
| LS-15 | LIGHTINH SYSTEM FOR SECURITY BUILDING |

System: ESD	[EMERGENCY SHUTDOWN]

| Subsystem | Subsystem Name |
| --- | --- |
| ESD-01 | EMERGENCY SHUT DOWN UNIT-1000 |
| ESD-02 | EMERGENCY SHUT DOWN UNIT-2000 |
| ESD-03 | EMERGENCY SHUT DOWN UNIT-3000 |
| ESD-04 | EMERGENCY SHUT DOWN UNIT-4000 |
| ESD-05 | EMERGENCY SHUT DOWN UNIT-5000 |

Unit: F&G [FIRE & GAS DETECTION]

| Subsystem | Subsystem Name |
| --- | --- |
| FGS-01 | FIRE & GAS DETECTION FOR FIRE ZONE 1001 |
| FGS-02 | FIRE & GAS DETECTION FOR FIRE ZONE 1002 |
| FGS-03 | FIRE & GAS DETECTION FOR FIRE ZONE 1003 |
| FGS-04 | FIRE & GAS DETECTION FOR FIRE ZONE 1004 |
| FGS-05 | FIRE & GAS DETECTION FOR FIRE ZONE 1005 |
| FGS-06 | FIRE & GAS DETECTION FOR FIRE ZONE 1006 |
| FGS-07 | FIRE & GAS DETECTION FOR FIRE ZONE 1007 |
| FGS-08 | FIRE & GAS DETECTION FOR SUBSTATION |
| FGS-09 | FIRE & GAS DETECTION FOR CONTROLL BLDG |
| FGS-10 | FIRE & GAS DETECTION FOR LABORATORY |
| FGS-11 | FIRE & GAS DETECTION FOR DIESEL ROOM |
| FGS-12 | FIRE & GAS DETECTION FOR ANALYZER HOUSE |
| FGS-13 | FIRE & GAS DETECTION FOR SECURITY BUILDING |
| FGS-14 | FIRE & GAS DETECTION FOR WAREHOUSE BUILDING |

Unit: ES [EARTHING SYSTEM]

| Subsystem | Subsystem Name |
| --- | --- |
| ES-01 | EARTHING & ROOF LIGHTNING SYSTEM FOR SUBSTATION & DIESEL ROOM |
| ES-02 | EARTHING & ROOF LIGHTNING SYSTEM FOR CONTROLL BLDG |
| ES-03 | EARTHING & ROOF LIGHTNING SYSTEM FOR LABORATORY & YARD OFFICE |
| ES-04 | EARTHING & ROOF LIGHTNING SYSTEM FOR ANALYZER HOUSE |
| ES-05 | EARTHING & ROOF LIGHTNING SYSTEM FOR WARHOUSE |
| ES-06 | EARTHING SYSTEM FOR AREA-02 |
| ES-07 | EARTHING SYSTEM FOR AREA-03 |
| ES-08 | EARTHING SYSTEM FOR AREA-04 |
| ES-09 | EARTHING SYSTEM FOR AREA-05 |
| ES-10 | EARTHING SYSTEM FOR AREA-06 |
| ES-11 | EARTHING SYSTEM FOR AREA-07 |
| ES-12 | EARTHING & ROOF LIGHTNING SYSTEM FOR SECURITY BUILDING |

Unit: TELE [TELECOM SYSTEM]

| Subsystem | Subsystem Name |
| --- | --- |
| TELE-01 | TELECOM SYSTEM FOR AREA-01 |
| TELE-02 | TELECOM SYSTEM FOR AREA-02 |
| TELE-03 | TELECOM SYSTEM FOR AREA-03 |
| TELE-04 | TELECOM SYSTEM FOR AREA-04 |
| TELE-05 | TELECOM SYSTEM FOR AREA-05 |
| TELE-06 | TELECOM SYSTEM FOR AREA-06 |
| TELE-07 | TELECOM SYSTEM FOR AREA-07 |
| TELE-08 | TELECOM SYSTEM FOR SUBSTATION |
| TELE-09 | TELECOM SYSTEM FOR CONTROL BUILDING |
| TELE-10 | TELECOM SYSTEM FOR LABORATORY |
| TELE-11 | TELECOM SYSTEM FOR CCTV |
| TELE-12 | TELECOM SYSTEM FOR ANALYZER HOUSE |
| TELE-13 | TELECOM SYSTEM FOR SECURITY BUILDING |
| TELE-14 | TELECOM SYSTEM FOR WAREHOUSE BUILDING |

System: DCS	[DISTRIBUTED CONTROL SYSTEM]

| Subsystem | Subsystem Name |
| --- | --- |
| DCS-01 | PANELS& MARSHALING CABINETS |

System: BL	[BUILDING]

| Subsystem | Subsystem Name |
| --- | --- |
| BLD-01 | SUBSTATION BUILDING |
| BLD-02 | CONTROL BUILDING |
| BLD-03 | LABORATORY BUILDING |
| BLD-04 | SECURITY BUILDING |
| BLD-05 | DIESEL ROOM BUILDING |
| BLD-06 | WAREHOUSE BUILDING |
| BLD-07 | ANALYZER HOUSE BUILDING |

System: HVAC [HVAC SYSTEM]

| Subsystem | Subsystem Name |
| --- | --- |
| HVAC-01 | HVAC FOR SUBSTATION |
| HVAC-02 | HVAC FOR CONTROL BUILDING |
| HVAC-03 | HVAC FOR LAB AND YARD OFFICE |
| HVAC-04 | HVAC FOR ANALYZER HOUSE |

System: STR	 [STRUCTURE SYSTEM]

| Subsystem | Subsystem Name |
| --- | --- |
| STR-01 | PIPE RACK ZONE 1~7, BRIDGE FOR FLARE LINE, PIPE RACK ZONE 14&15, BRIDGE FOR DUCT, STR RUN DOWN TANK TK-8001A/B, COOLING TOWER T SUPPORT |
| STR-02 | STR D-6002, STR P-6002, PIPE RACK ZONE 12&13, STR D, G, STR R 1001&1002&2003, STR TRANSFER LINE, STR T-5004 |
| STR-03 | PIPE RACK ZONE 8&9, STR C-3001, STR D-3003, STR R-3001, STR E-3001, STR A, PLAT FORM P-2003, STR CONTROL BUILDING& SUBSTATION |
| STR-04 | PIPE RACK ZONE 10&11, STR-B, C, E, F, STR , PLATFORM P5009, STR AE-5005, STR D-5002 |
| STR-05 | STR PK7502, STR FI-8001, STR SU 8403 |

System: CVL [CIVIL SYSTEM]

| Subsystem | Subsystem Name |
| --- | --- |
| CIVIL-01 | Pipe Racks, T-Posts & Bridges Foundation |
| CIVIL-02 | Structure & Platforms Foundation |
| # CIVIL-03 | Equipment Foundation A (Compressors, Drums, Exchangers, Filters) |
| # CIVIL-04 | Equipment Foundation B (Pumps, Packages, Reactors, Towers) |
| # CIVIL-05 | Equipment Foundation C (Turbine& Fan, Reformer, Stack & Air Intake, Etc.) |
| # CIVIL-06 | Tanks Foundation |
| # CIVIL-07 | Retaining Wall & Dyke Wall |
| # CIVIL-08 | UG Pits A (Area 61,62,66,67) |
| # CIVIL-09 | UG Pits B (Area 63,64,68,69) |
| CIVIL-10 | UG Pits C (Area 56,57,60,70) |
| CIVIL-11 | UG Pits D (Area 58,59,65) |
| CIVIL-12 | Ditch A (Area 70,60,65,56,57,58,59) |
| CIVIL-13 | Ditch B (Area 61,64,66,67,68,69) |
| CIVIL-14 | Cable Trench & Duct Bank A (Area 61,62,66,67) |
| CIVIL-15 | Cable Trench & Duct Bank B (Area 63,64,68,69) |
| CIVIL-16 | Cable Trench & Duct Bank C (Area 56,57,60,70) |
| CIVIL-17 | Cable Trench & Duct Bank D (Area 58,59,65) |
| CIVIL-18 | PAVING A (ZONE 9,10) |
| CIVIL-19 | PAVING B (ZONE 11,12) |
| CIVIL-20 | PAVING C (ZONE 4,7) |
| CIVIL-21 | PAVING D (ZONE 2,3,6) |
| CIVIL-22 | PAVING E (ZONE 1,5,8) |
| CIVIL-23 | Roads |
| CIVIL-24 | Flare (FDN, Ditch, Pipe Support, Paving, Fencing, Stone Pitching) |
| CIVIL-25 | Others Foundations (Lighting Pole, House Box & Etc.) |